Features
[image: image1.jpg]/\ WARNING

* Risk of electric shock

* Do notconnect AC power to output terminals
uvw

* Wait 10 minutes for capacitor discharge after

switching off the power supply

4.0KWG3/380V
5.5KWP3/380V.



Variable Frequency Drive: Introduction
Fully new design
High performance Variable Frequency Drive
1AC 220~240V / 0.75kW~315kW
3AC 220~240V / 0.75kW~315kW
3AC 380~460V / 0.75kW~630kW
V/f, Sensorless Vector Control(SVC)
Latest generation IGBT inside
150%/120s, 160%/60s, 180%/10s Widely applied in different applications
Smart start/sttop
Built-in EMC filter
Sufficient input & output terminals
Reliable speed tracking restart performance

Specifications

Variable Frequency Drive: Specifications
	Technical Index
	Specification

	Input voltage
	  1AC 220~240V±15%

	
	  3AC 220~240V±15%

	
	  3AC 380~460V±15%

	Input frequency
	  50/60Hz±5%

	Output voltage
	  0~rated input voltage

	Output frequency
	  0~6000Hz

	Control mode
	  V/f control

	
	  Sensorless vector control

	
	  Torque control

	Operation command mode
	  Keypad control

	
	  Terminal control

	
	  Serial communication control (Modbus)

	Frequency setting mode
	  Digital setting, analog setting, pulse frequency setting,

	
	  serial communication setting, multi-step speed setting &

	
	  simple PLC, PID setting, etc. These frequency settings 

	
	  can be combinated & switched in various modes.

	Overload capacity
	  150% / 120s, 160% / 60s, 180% / 10s, 200% / 1s.

	Starting torque
	  0.5Hz/180% (SVC); 1Hz/150% (V/f)

	Speed control precision
	  ±0.5% (SVC)

	Carrier frequency
	  0.5~16.0kHz, automatically adjusted according to

	
	   temperature and load characteristics

	Frequency accuracy
	  Digital setting: 0.01Hz

	
	  Analog setting: maximum frequency ×0.05%

	Torque boost
	  Automatically torque boost; manually torque boost:

	
	  0.1%~30.0%

	V/f curve
	  Three types: linear, multiple point and square type

	
	  (1.2 power, 1.4 power, 1.6 power, 1.8 power, square)

	Acceleration/deceleration mode
	  Straight line/S curve; four kinds of acceleration/deceleration

	
	  time, range: 0.0s~65000s

	Braking unit
	  build-in standard.

	DC braking
	  DC braking when starting and stopping

	
	  DC braking frequency: 0.0Hz~maximum frequency

	
	  Braking time: 0.0s~25.0s

	Jog operation
	  Jog operation frequency: 0.0Hz~maximum frequency

	
	  Jog acceleration/deceleration time: 0.1s~3600.0s

	Simple PLC & multi-step speed operation
	  It can realize a maximum of 16 multi-step speeds running via

	
	  the built-in PLC or control terminal.

	Built-in PID
	  Built-in PID control to easily realize the close loop control of

	
	  the process parameters (such as pressure, temperature,

	
	  flow, etc.)

	Automatic voltage regulation
	  Keep output voltage constant automatically when input 

	
	  voltage fluctuating

	Torque control
	  Torque control without PG

	Wobble frequency control
	  Multiple triangular-wave frequency control, special for textile

	Timing/length/
	  Timing/length/counting control function

	counting control
	

	Over-voltage & over-current stall control
	  Limit current & voltage automatically during the running

	
	  process, prevent frequent over-current & over-voltage tripping

	Fault protection function
	  Comprehensive protections include over-current, over-

	
	  voltage, under-voltage, overheating, default phase,

	
	  overload, shortcut, etc., can record the detailed running

	
	  data while failures happen.

	Input terminals
	  Programmable digital input: 7 multifunctional inputs, one can be work as high speed pulse input.

	
	  3 programmable analog input:

	
	  AI1, AI2, AI3: 0~10V / 4~20mA

	Output terminals
	  2 relay outputs,

	
	  2 open collector outputs,

	
	  2 anaalog outputs, 0~10V / 4~20mA

	Communication terminals
	  Build-in standard RS485 communication interface, support

	
	  MODBUS-RTU communication protocol

	LED display
	  Display frequency setting, output frequency, output voltage,

	
	  output current, etc. Two lines display

	Ambient temperature
	  -10~50°C, without direct sunshine.

	Humidity
	  90%RH or less (non-condensing)

	Altitude
	  ≤1000M: output rated power, >1000M: output derated

	Storage temperature
	  -20~60°C


Variable Frequency Drive: Features
	Items
	D330N

	Reliable hardware
	Only first-class componens are built-in.

	Rubust design
	IGBT current > 2 times of inverter output current

	
	Capacitor > 50uF/A

	PCB aging test
	100% test, 50°C, 12 hours.

	Finished products aging test
	100% test, 50°C, 24 hours.

	Loading test
	Two times, 100% tested:

	
	1. After manufacturing.

	
	2. After aging test.

	Grouped pulse testing
	Without failure under 4500V (better EMC performance).

	Electrostatic testing
	1. Noncontact conditions -- without failure under 10000V.

	
	2. Under contact condition -- without failure under 5000V.

	Unqualification during production
	<0.03%

	Total failure ratio at industrail sites
	<0.5%

	High overload capacity
	150% / 120s, 160% / 60s, 180% / 10s, 200% /1s

	Smart start / stop mode
	Acceleration / Deceleration time can be set as 0.0s, the inverter starts and stops the motor as fast as possible without failure.

	S ccure Acceleration / Deceleration mode
	Better start stop performance.

	Big start torque
	0.5Hz/150% (V/f), 1Hz/150% (SVC)

	Better stop performance
	1. Current is limited smoothly while stoping;

	
	2. Stops smoothly in very short time for heavy load applications.

	Better input voltage flexibility
	-15%~+15% without failure.

	LED display
	two lines parameters dispaly, convenient for commissioning and operating.

	LCD display
	Under developing

	EMC filter
	C3 level EMC filter build-in standardly


Variable Frequency Drive: Features
	Items
	D330N

	Reliable hardware
	Only first-class componens are built-in.

	Rubust design
	IGBT current > 2 times of inverter output current

	
	Capacitor > 50uF/A

	PCB aging test
	100% test, 50°C, 12 hours.

	Finished products aging test
	100% test, 50°C, 24 hours.

	Loading test
	Two times, 100% tested:

	
	1. After manufacturing.

	
	2. After aging test.

	Grouped pulse testing
	Without failure under 4500V (better EMC performance).

	Electrostatic testing
	1. Noncontact conditions -- without failure under 10000V.

	
	2. Under contact condition -- without failure under 5000V.

	Unqualification during production
	<0.03%

	Total failure ratio at industrail sites
	<0.5%

	High overload capacity
	150% / 120s, 160% / 60s, 180% / 10s, 200% /1s

	Smart start / stop mode
	Acceleration / Deceleration time can be set as 0.0s, the inverter starts and stops the motor as fast as possible without failure.

	S ccure Acceleration / Deceleration mode
	Better start stop performance.

	Big start torque
	0.5Hz/150% (V/f), 1Hz/150% (SVC)

	Better stop performance
	1. Current is limited smoothly while stoping;

	
	2. Stops smoothly in very short time for heavy load applications.

	Better input voltage flexibility
	-15%~+15% without failure.

	LED display
	two lines parameters dispaly, convenient for commissioning and operating.

	LCD display
	Under developing

	EMC filter
	C3 level EMC filter build-in standardly


Variable Frequency Drive: Selection
	Inverter Model
	Motor
	Rated Input Current (A)
	Rated Output Current (A)

	
	kW
	HP
	
	

	     3AC 380~460V±15%

	D330N-00075T4
	0.75
	1
	3.4
	2.8

	D330N-00150T4
	1.5
	2
	5
	4.4

	D330N-00220T4
	2.2
	3
	6.5
	5.8

	D330N00400T4
	4
	5
	11
	10

	D330N-00550T4
	5.5
	7.5
	14.6
	13

	D330N-00750T4
	7.5
	10
	20.6
	17

	D330N-01100T4
	11
	15
	26
	25

	D330N-01500T4
	15
	20
	35
	32

	D330N-01850T4
	18.5
	25
	38.5
	37

	D330N-02200T4
	22
	30
	46.5
	45

	D330N-03000T4
	30
	40
	62
	60

	D330N-03700T4
	37
	50
	76
	75

	D330N-04500T4
	45
	60
	92
	90

	D330N-05500T4
	55
	75
	113
	110

	D330N-07500T4
	75
	100
	157
	152

	D330N-09000T4
	90
	125
	180
	176

	D330N-11000T4
	110
	150
	214
	210

	D330N-13200T4
	132
	175
	260
	253

	D330N-16000T4
	160
	210
	310
	304

	D330N-18500T4
	185
	250
	365
	350

	D330N-20000T4
	200
	260
	385
	380

	D330N-22000T4
	220
	300
	430
	426

	D330N-25000T4
	250
	330
	485
	465

	D330N-28000T4
	280
	370
	531
	520

	D330N-31500T4
	315
	420
	620
	585

	D330N-35500T4
	350
	470
	665
	650

	D330N-40000T4
	400
	530
	785
	725

	D330N-45000T4
	450
	600
	880
	820

	D330N-50000T4
	500
	660
	960
	900

	D330N-56000T4
	560
	750
	1050
	1000

	D330N-63000T4
	630
	840
	1130
	1100

	     3AC 220~240V±15%

	D330N-00075T2
	0.75
	1
	3.4
	2.8

	D330N-00150T2
	1.5
	2
	5
	4.4

	D330N-00220T2
	2.2
	3
	6.5
	5.8

	D330N-00400T2
	7.5
	5
	20.6
	17

	D330N-00550T2
	11
	7.5
	26
	25

	D330N-00750T2
	15
	10
	35
	32

	D330N-01100T2
	22
	15
	46.5
	45

	D330N-01500T2
	30
	20
	62
	60

	D330N-01850T2
	37
	25
	76
	75

	D330N-02200T2
	45
	30
	92
	90

	D330N-03000T2
	55
	40
	113
	110

	D330N-03700T2
	75
	50
	157
	152

	D330N-04500T2
	90
	60
	180
	176

	D330N-05500T2
	110
	75
	214
	210

	D330N-07500T2
	160
	100
	310
	304

	D330N-09000T2
	185
	125
	365
	350

	D330N-11000T2
	220
	150
	430
	426

	D330N-13200T2
	280
	175
	531
	520

	D330N-16000T2
	315
	210
	620
	585

	D330N-18500T2
	350
	250
	665
	650

	D330N-20000T2
	400
	260
	785
	725

	D330N-22000T2
	450
	300
	880
	820

	D330N-25000T2
	500
	330
	960
	900

	D330N-28000T2
	560
	370
	1050
	1000

	D330N-31500T2
	630
	420
	1130
	1100

	     1AC 220~240V±15%

	D330N-00075S2
	0.75
	1
	3.4
	2.8

	D330N-00150S2
	1.5
	2
	5
	4.4

	D330N-00220S2
	2.2
	3
	6.5
	5.8

	D330N-00400S2
	7.5
	5
	20.6
	17

	D330N-00550S2
	11
	7.5
	26
	25

	D330N-00750S2
	15
	10
	35
	32

	D330N-01100S2
	22
	15
	46.5
	45

	D330N-01500S2
	30
	20
	62
	60

	D330N-01850S2
	37
	25
	76
	75

	D330N-02200S2
	45
	30
	92
	90

	D330N-03000S2
	55
	40
	113
	110

	D330N-03700S2
	75
	50
	157
	152

	D330N-04500S2
	90
	60
	180
	176

	D330N-05500S2
	110
	75
	214
	210

	D330N-07500S2
	160
	100
	310
	304

	D330N-09000S2
	185
	125
	365
	350

	D330N-11000S2
	220
	150
	430
	426

	D330N-13200S2
	280
	175
	531
	520

	D330N-16000S2
	315
	210
	620
	585

	D330N-18500S2
	350
	250
	665
	650

	D330N-20000S2
	400
	260
	785
	725

	D330N-22000S2
	450
	300
	880
	820

	D330N-25000S2
	500
	330
	960
	900

	D330N-28000S2
	560
	370
	1050
	1000

	D330N-31500S2
	630
	420
	1130
	1100


